Circulation System

Your Skinny Dipping Pool has been engineered with an energy efficient Hayward circulation/filtration system. Your filtering system has three major components, a skimmer, a pump, and a filter.

Water is drawn from the skimmer, pushed through the pump basket, then filtered and returned to the pool. This is all done automatically on a daily basis via the time clock. When your pool is finished, a Skinny Dipping Pools representative will provide you with all pertinent data required on filtering times as well as maintenance required for proper operation. SEE SCHEMATIC BELOW.